## Slide 1: Strategies for Infant/Pediatric Respiratory Care in RSV Bronchiolitis

## Slide 2: Low Flow Oxygen Therapy
Indicated for hypoxia without significant work of breathing.
Nasal cannula
(may require specialized flowmeter from NICU)
    0.25 to 4 lpm depending on age
    Nonrebreather Mask
    10-15 lpm

## Slide 3: Heated High Flow Nasal Cannula Therapy (HHFNC)

## Slide 4: Heated High Flow Nasal Cannula Therapy (HHFNC)

## Slide 5: Heated High Flow Nasal Cannula Therapy (HHFNC)

## Slide 6: Heated High Flow Nasal Cannula Therapy (HHFNC)
Vapotherm
Neonatal/Infant – 1-8 lpm @ 21-100% FiO2
Pediatric/Adult – 5-40 lpm @ 21-100% FiO2
    Integrated flowmeter, blender, heater.

## Slide 7: Heated High Flow Nasal Cannula Therapy (HHFNC)
Optiflow / Airvo
Neonatal (32 weeks gestation – 6 months)
1-8 lpm @ 21-100% FiO2
Requires Optiflow setup – not compatible with Airvo device.
Utilizes basic oxygen/air blender with heater.
Infant (37 weeks – 3.5 years)
    1-20 lpm @ 21-100% FiO2
    Can be used with Optiflow or Airvo devices
    Pediatric (1-6 years)
    1-25 lpm @ 21-100% FiO2
    Can be used with Optiflow or Airvo devices

## Slide 8: Noninvasive Positive Pressure Ventilation (NPPV)
    Utilizes either a Drager v500 or vn500 ventilator to provide noninvasive ventilation.
    v500 devices will need to be switched to Pediatric mode.
    RAM cannula is the interface of choice.
    IPAP 12-18
    EPAP 5-10
    Backup rate 30

## Slide 9: Mechanical Ventilation
    Utilizes either a Drager v500 or vn500 ventilator.
    Devices will need to be switched to Pediatric mode.
    PC-SIMV is preferred
    Vt goal 6-8ml/kg (Max PIP 30-50 cmH2O)
    PEEP 3-15 cmH2O (start with current CPAP level)
    Rate ~30 bpm to start
    Permissive hypercapnia:
    pH ≥7.25, avoid overdistention

## Slide 10: Adjunctive therapies
Guideline recommendations to support diagnosis of bronchiolitis

## Slide 11: Adjunctive therapies
Guideline recommendations for the routine pharmacological management of bronchiolitis.

## Slide 12: Adjunctive therapies
Guideline recommendations for general supportive management of bronchiolitis

## Slide 13: References
Hayes, D. and others; American Thoracic Society Assembly on Pediatrics. (2019). Home oxygen therapy for children: An official American Thoracic Society Clinical Practice Guideline. American Journal of Respiratory and Critical Care Medicine, 199(3), e5-e23. doi:10.1164/rccm.201812-2276ST (Level VII)
Topjian, A.A. and others. (2020). Part 4: Pediatric basic and advanced life support: 2020 American Heart Association guidelines for cardiopulmonary resuscitation and emergency cardiovascular care. Circulation, 142(16 Suppl. 2), S469-S523. doi:10.1161/CIR.0000000000000901 Retrieved October 12, 2021, from https://www.ahajournals.org/doi/10.1161/CIR.0000000000000901 (Level I)
Tasker RC. Bronchiolitis. Pediatric and Neonatal Mechanical Ventilation. 2013 Oct 8:1291–311. doi: 10.1007/978-3-642-01219-8_50. PMCID: PMC7122073.
Amir Kirolos, Sara Manti, Rachel Blacow, Gabriel Tse, Thomas Wilson, Martin Lister, Steve Cunningham, Alasdair Campbell, Harish Nair, Rachel M Reeves, Ricardo M Fernandes, Harry Campbell, RESCEU Investigators, A Systematic Review of Clinical Practice Guidelines for the Diagnosis and Management of Bronchiolitis, The Journal of Infectious Diseases, Volume 222, Issue Supplement_7, 1 November 2020, Pages S672–S679, https://doi.org/10.1093/infdis/jiz240